## DCS REPORT

| Field | Detected From | Method | Confidence | Value |
| --- | --- | --- | --- | --- |
| Ash | ASH% | Exact alias/symbol match | 1.00 | 27.37 |
| Avg. Flue Gas CO — APH Out | CO | AI (ML) match | 1.00 | 12.5 |
| Avg. Flue Gas O₂ — APH In | ID B INLET DRAUGHT | AI (ML) match | 0.55 | -2.86 |
| Avg. Flue Gas Temp — APH In | FW ECO I/L TEMP | AI (ML) match | 0.69 | 240.2 |
| Avg. Flue Gas Temp — APH Out | FG PR. AFTER AH-B | AI (ML) match | 0.68 | 61.31 |
| Fixed Carbon | F.C.% | Exact alias/symbol match | 1.00 | 32.49 |
| Gross Calorific Value (GCV) | GCV (kcal/k g) | AI (ML) match | 0.87 | 4177 |
| Moisture | TM% | AI (ML) match | 1.00 | 17.09 |
| Primary Air from APH Temp Out | PA B COMP 2X SEL | AI (ML) match | 0.46 | 47.55 |
| Primary Air to APH Temp In | Mill Running | AI (ML) match | 0.55 | 0.5658 |
| Secondary Air from APH Temp Out | FG TEMP AH O/L (R) | AI (ML) match | 0.65 | 118.1 |
| Secondary Air to APH Temp In | FG GAS TEMP AH I/L (R) | AI (ML) match | 0.51 | 228.9 |
| Steam Flow | RH ATT. WATER FLOW (LHS) | AI (ML) match | 0.64 | 161.5 |
| Total Coal Flow | FEEDER A AMPS | AI (ML) match | 0.62 | 21.39 |
| Total Primary Air Flow | PA-A FLOW COMP | AI (ML) match | 0.91 | 47.87 |
| Total Secondary Air Flow | SA (R) FLOW COMP | AI (ML) match | 0.88 | 364.7 |
| Unburnt Carbon in Bottom Ash | Bottom Ash % | Exact alias/symbol match | 1.00 | 9.73 |
| Unburnt Carbon in Fly Ash | FA (ESP) (%) | AI (ML) match | 0.68 | 3.836 |
| Unit Load | Load (MW) | AI (ML) match | 1.00 | 169.3 |
| Volatile Matter | V.M.% | Exact alias/symbol match | 1.00 | 26.27 |

## Fields Not Detected

The following required CENPEEP input fields were not found on any sheet in this workbook and must be entered manually:

Sulfur

Avg. Flue Gas CO — APH In

Avg. Flue Gas O₂ — APH Out

Design Ambient / Ref Air Temp